SOLUTION FOR TUTORIAL 10

Textbook : HUGHES;  Electrical and Electronic Technology;  9th Ed.; 2005;  Prentice Hall

Exercises 34;  p. 667

3.

The system circuit diagram;

The currents in motor windings are the phase currents namely I1, I2 and I3, where;

I1=I2=I3=IP=PPVL×P.F.=900003600×0.9=55.56 A

The currents in transformer windings are the line currents namely IR, IY and IB, where;

IR=IY=IB=IL=3IP=96.23 A

Phasor diagram : Phase currents in relation to line voltages.

Phasor diagram : Line currents in relation to phase currents

IR=I1−I3

IY=I2−I1

IB=I3−I2

I1=55.56cos64∘+jsin64∘=24.36+j49.94

I2=55.56cos56∘−jsin56∘=31.07−j46.06

I3=55.56−cos4∘−jsin4∘=−55.42−j3.88

IR=24.36+j49.94−−55.42−j3.88

IR=79.78+j53.82=96.24 A∠34∘

IY=31.07−j46.06−24.36+j49.94

IY=6.71−j96=96.23 A∠−86∘

IB=−55.42−j3.88−31.07−j46.06

IB=−86.49+j42.18=96.23 A∠154∘

Phasor diagram : Line currents in relation to line voltages

9.

In the above delta-connected load, I1, I2 and I3 are the phase currents;  and IR, IY and IB  are the line currents.

For a balanced 3-phase delta connected load, the magnitude of the phase currents are equal; i.e.

I1=I2=I3=IP

where IP is the phase current

and	IR=IY=IB=IL

where	IL is the line current

I2 lags I1 by 120 and I3 lags I2 by 120.   These current are represented in the following phasor diagram;

Applying KCL at nodes R’, Y’ and B’

IR+I3=I1

IY+I1=I2

IB+I2=I3

The above equation may be rewritten as follows;

IR=I1−I3=I1+−I3

IY=I2−I1=I2+−I1

IB=I3−I2=I3+−I2

The phasors −I1, −I2 and −I3 are the backward projection of phasors I1, I2 and I3 as shown below;

Taking the line current IR;

IR=IR=2I1cos30∘

=2I132=3I1

In the same manner, it can be shown that;

IY=2I232=3I2

and

IB=2I332=3I3

Thus, in general, for a balanced delta-connected load, in terms of line and phase currents;

IL=3I1	Ans.

The load takes a line current of 5 A which corresponds to a phase current of;

IP=IL3=53=2.89 A

The phase load;

ZP=VPIP=4002.89=139Ω

Since the power is 0.8, θ=37∘;

ZP=139Ω∠37∘=111+j83

Therefore;

RP=111Ω	and	XP=83Ω

The inductance of the coil;

LP=XP2πf=83100π=265 mH

Inductance of coil =265 mH|Resistance of coil =111Ω	Ans.

Star-connected load

IL=IP=VPZP=4003139∠37∘=1.66 A∠−37∘

PP=IP2RP=1.662×111=306.4 W

Total power;

P=3PP=3×306.4=919.2 W

When one of the coil is open;

The line currents become;

IR=IY=IL=VL2ZP=4002×139=1.44 A	Ans.

10.

Given that;

IL=25 A=IP;	Sin=20 kVA;		Pin=11 kW

Then, the reactive power input;

Qin=Sin2−Pin2=202−112=16.7 kVAr		Ans.

And, per phase;

SP=IPVP=203=6.667 kVA;

PP=IP2RP=113=3.667 kW

Therefore, the phase voltage;

VP=SPIP=6.667 kVA25 A=267 V	Ans.

and the line voltage;

VL=3VP=1.732×267=462 V	Ans.

The phase impedance;

ZP=VPIP=26725=10.67Ω

Also, the coil resistance;

RP=PPIP2=3.667 kW252=5.87Ω	Ans.

And the coil reactance;

XP=ZP2−RP2=10.672−5.872=8.91Ω	Ans.

Delta-connected load;

The phase current;

IP=I1=I2=I3=VPZP=VLZP=46210.67=43.3 A

IL=3IP=1.732×43.3=75 A	Ans.

The active power;

P=3PP=3IP2RP=3×43.32×5.87=33 kW	Ans.

12.

Resolving IY and IB into vertical and horizontal components;

IYh=50cos−120=−25

IYv=50sin−120=−43.3

IBh=60cos120=−30

IBv=60sin120=51.96

Thus IY and IB may represented in complex number form as;

IY=−25−j43.3

IB=−30+j51.96

The neutral current is the phasor sum of IR. IY and IB i.e.

IN=IR+IY+IB

=40−25−j43.3−30+j51.96

IN=−15+j8.66=17.31 A∠150∘	Ans.

These currents are shown in the following phasor diagram;

When VL=400 V then VP=4003=231 V

The active power;

PR=VPIR×PF=231×40×0.9=8316 W

PY=VPIY×PF=231×50×0.9=10395 W

PB=VPIB×PF=231×60×0.9=12474 W

PT=PR+PY+PB=31.19 kW	Ans.

13.

The phase currents are I1, I2 and I3 while IR, IY and IB are the line currents.

I1=VRYR=400100=4 A is in phase with its voltage (VRY)

I2=VYBXL=40060=6.67 A lags its voltage (VYB) by 90

I3=VBRXC=400130=3.08 A leads its voltage (VBR) by 90

(a)

I1=4 A|I2=6.67 A|I3=3.08 A	Ans.

The phasor following diagram shows the phasor currents in relation to the line voltages.

(b)	Decompose the phase currents into its vertical and horizontal components;

I1=j4

I2=6.67cos−120∘+jsin−120∘=−3.33−j5.77

I3=3.08cos−60∘+jsin−60∘=1.54−j2.67

Applying KCL at nodes R’, Y’ and B’;

IR=I1−I3

=j4−1.54−j2.67

IR=−1.54+j6.67=6.85 A∠103∘

IY=I2−I1

=−3.33−j5.77−j4

IY=−3.33−j9.77=10.32 A∠−108.8∘

IB=I3−I2

=1.54−j2.67−−3.33−j5.77

IB=4.97+j3.1=5.86∠32∘

IR=6.85 A|IY=10.32 A|IB=5.86 A	Ans.

The following phasor diagram shows the phase currents and the resultant line currents.

14.

From the above figure;

IR+I3=I1	or	IR=I1−I3

IY+I1=I2	or	IY=I2−I1

IB+I2=I3	or	IB=I3−I2

In other words;

IR is the phasor sum of I1 and −I3

IY is the phasor sum of I1 and −I1

is the phasor sum of I1 and −I2

The phasors for −I1, −I2 and −I3 are drawn in the directions opposite to that of I1, I2 and I3 respectively as follows;

The line currents can be easily solved by using complex number notation;

I1=30cos45∘+jsin45∘=21.21+j21.21

I2=20cos−120∘+jsin−120∘=−10−j17.32

I3=25cos90∘+jsin90∘=0+j25

IR=I1−I3=21.21+j21.21−0+j25

=21.21−j3.79=21.55 A∠−10.1∘

IY=I2−I1=−10−j17.32−21.21+j21.21

=−31.21−j38.53=49.58 A∠−129∘

IB=I3−I2=0+j25−−10−j17.32

=10+j42.32=43.49 A∠76.7∘

IR=21.55 A|IY=49.58 A|IB=43.49 A	Ans.