SOLUTION FOR TUTORIAL 11

Textbook : HUGHES;  Electrical and Electronic Technology;  9th Ed.; 2005;  Prentice Hall

Exercises 35;  p. 701

19.

Referring R2 and X2 to the primary;

R2'=R2N1N22=0.012812=0.768

X2'=X2N1N22=0.07812=4.48

Re=R1+R2'=0.85+0.768=1.618Ω

Xe=X1+X2'=4.8+4.48=9.28Ω

V1=V2=0

I1=I2N2N1=15018=18.75 A

VTEST=I1Re+jXe

=18.751.618+j9.28=30.34+j174

VTEST=30.342+1742=176.6 V		Ans.

20.

In the secondary circuit

V2=200+j100I2		(1)

But, by transformer action;

V2=N2N1V1=4V1		(2)

and

I2=N1N2I1=14I1		(3)

Hence, using (1), (2) and (3)

4V1=200+j1004I1

or

I1=16200+j100V1		(4)

In the primary circuit;

V1=230−0.1+j0.5I1

Substituting for I1 as in (4)

V1=230−0.1+j0.516200+j100V1

=230−1.6+j8200+j100V1

Hence;

1+1.6+j8200+j100V1=230

or;

V1=230200+j100201.6+j108

V1=230200+j100201.6−j108201.62+1082

V1=224.78−j6.33

V1=224.87

V2=4V1=4×224.87=899.5 V

V2=899.5 V		Ans.

Note:	The answer given in the textbook was 928 V.   The result of PSpice simulation was 897 V which is closer to answer above.

21.	To find the secondary terminal voltage VL at full-load and PF = 0.8

The transformer circuit;

Referring R2 and X2 to primary circuit;

Re=R1+R2N1N22=5.5+0.220004002=10.5Ω

Xe=X1+X2N1N22=12+0.4520004002=23.25Ω

The full-load primary and secondary currents are;

I1=10,0002000=5 A

I2=10,000400=25 A

The circuit becomes;

The secondary terminal voltage is V2 = VL.

The phasor diagram (not to scale) is as follows;

Ze=Re+jXe=10.5+j23.25

VZe=I1Ze=510.5+j23.25=52.5+j116.25

VZe=52.52+116.252=127.56 V

φ=arctan52.5116.25=24.3∘

Break down VZe into vertical component VZev and horizontal component VZeh;

VZev=127.56sin61.3∘=111.9

VZeh=127.56cos61.3∘=61.3

Total vertical component;

Vv=V1+VZev=V1+111.9

Total horizontal component;

Vh=VZeh=61.3

But;

V2=Vh2+Vv2

20002=61.32+V1+111.92

V1=−111.9+20002−61.32

=1887.2

V2=V15=377.4 V	Ans.

26.

Open-circuit test:  The secondary terminals are left open and the primary are supplied with the rated voltage.   The wattmeter W gives the open-circuit power consumption of the transformer, Poc.   The I2R loss is negligible due to extremely small current flowing in the primary winding.   Hence, Poc may be taken as the core loss.

Short-circuit test:  The secondary terminals are short-circuited and the primary are supplied with sufficiently low voltage as to give full load currents in both the primary and secondary circuit.   The wattmeter W gives the short-circuit power consumption of the transformer, Psc.   The core loss is negligible due to low voltage operation of the transformer.   The I2R loss is high because of high current flowing in the primary and secondary windings.   Hence, Psc may be taken as the winding loss.

Poc= core loss

Psc=I2R loss at full load

Poc+Psc= total loss

η=PoPi=PoPo+Ploss=PoPo+Poc+Psc

Po=V2I2cosθ=Scosθ

where cosθ is the load power factor.

Therefore;

η=ScosθScosθ+Poc+Psc

If the transformer is operated at n x full load, the the corresponding I2R loss is n2Psc.

Hence;

η=nScosθnScosθ+Poc+n2Psc

Given, for a 230 V / 400 V transformer, that;

Poc=35 W	and	Psc=48 W

the efficiency at half-load, 0.8 power factor;

η=0.5×400×15×0.80.5×400×15×0.8+35+0.52×48

η=24002400+35+12=0.98

or

η=98%	Ans.

29.

Open-circuit test;

V1=230 V;	I1=2.6 A @ cosθ=0.3

Therefore;

Poc=V1I1cosθ|open circuit

=230×2.6×0.3=179.4 W

Short-circuit test;

V1=18 V;	I2=100 A = full load;	Psc=240 W

(a)	Efficiency;

η=nScosθnScosθ+Poc+n2Psc

At full-load and unity power factor, n=1;  S=kVA and cosθ=1.   Hence;

η=kVAkVA+Poc+Psc

=1010+0.1794+0.24=0.9597

η≈96%	Ans.

(b)	Maximum efficiency occurs when core loss = winding loss.   Core loss is constant and equals Poc. namely 179.4 W.

From short-circuit test, Psc=240 W at full-load secondary current of 100 A.   The corresponding primary current is;

I1=100100230=43.48 A

Re=PscI12=24043.482=0.127Ω

For winding loss of 179.4 W;

I12×0.127=179.4

I1=179.40.127=37.58 A

The corresponding secondary current is

I2=I1230100=37.58230100=86.43 A

Therefore, the load for maximum efficiency;

V2I2=100×86.43=8.64 kVA	Ans.

(c)	Maximum efficiency;

η=nScosθnScosθ+Poc+n2Psc

n=8.64 kVA10 kVA=0.864

ηmax=0.864×100.864×10+0.1794+0.8642×0.1794

ηmax=96% @ unity power factor	Ans.